## Slide 1
PC
DSP
PCI_EMU_TARGET
RS232
PCI BUS
AD7663
AD8803
GANTRY_MOT
SCRATCH_PAD
…
OPB BUS
FPGA
FGPA: 3APE3000-FGG484  MPF100T-FCG484E
Previous Design (Reference ONLY)
DSP Board is required to pass message between PC and FPGA.

## Slide 2
PC
USB串口转接线
RS232
UART
ADS8864
DACx0504
GANTRY_MOT
SCRATCH_PAD
…
OPB BUS
FPGA
FGPA: 3APE3000-FGG484  MPF100T-FCG484E
Note:
J18, 24V_IN and GND
J11-10, DEBUG_HEADER10, 16KHz Ref Clock
J11-2, J11-3, RXD and TXD
CMD_SERVER
ADDER_DECODE
UART_INTERFACE
MSG_GET/SET
OPB_EMU_TARGET

## Slide 3
FPGA Design
FPGA Register Map
Write Register
  - OPB Write
Read Register
  - OPB Read
Communication Protocol
OPB Write
  Send OPB-Write Message
  Receive OPB-Write Message
OPB Read
  Send OPB-Read Message
  Receive OPB-Read Message
Bytes | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
OPB-Write | 5A | OPB_ADDR[31:0] |  |  |  | OPB_DO[31:0] |  |  |  | A5
OPB-Read | 5B | OPB_ADDR[31:0] |  |  |  | OPB_DI[31:0] |  |  |  | A4